## V301 FFA installation details
CBETA V301 BPM Module Network/Installation Details
Related drawing: xxx
BPM Name | Girder Name | Equipment Rack | VME Chassis | Slot | Serial Number (decimal) | MAC Address (02:CB:EA:CB:EA:xx) xx= | MAC Address (02:CB:EA:CB:EA:xx) | IP Address | IP Name (erpxbpmXXX.classe.cornell.edu)
IFABPM01 | FA.GD01 | LOE.FA.GD02.R01 | CBETA-BPM-VME-01 | 2 | 104 | 04 | 02:CB:EA:CB:EA:04 | 172.18.52.4 | erpxbpm004.classe.cornell.edu
IFABPM02 |  |  |  | 3 | 105 | 05 | 02:CB:EA:CB:EA:05 | 172.18.52.5 | erpxbpm005.classe.cornell.edu
IFABPM03 |  |  |  | 4 | 113 | 0D | 02:CB:EA:CB:EA:0D | 172.18.52.13 | erpxbpm013.classe.cornell.edu
IFABPM04 |  |  |  | 5 | 107 | 07 | 02:CB:EA:CB:EA:07 | 172.18.52.7 | erpxbpm007.classe.cornell.edu
IFABPM05 | FA.GD02 |  |  | 6 | 109 | 09 | 02:CB:EA:CB:EA:09 | 172.18.52.9 | erpxbpm009.classe.cornell.edu
IFABPM06 |  |  |  | 7 | 168 | 44 | 02:CB:EA:CB:EA:44 | 172.18.52.68 | erpxbpm068.classe.cornell.edu
IFABPM07 |  |  |  | 8 | 135 | 23 | 02:CB:EA:CB:EA:23 | 172.18.52.35 | erpxbpm035.classe.cornell.edu
IFABPM08 |  |  |  | 9 | 111 | 0B | 02:CB:EA:CB:EA:0B | 172.18.52.11 | erpxbpm011.classe.cornell.edu
IFABPM09 | FA.GD03 |  |  | 10 | 114 | 0E | 02:CB:EA:CB:EA:0E | 172.18.52.14 | erpxbpm014.classe.cornell.edu
IFABPM10 |  |  |  | 11 | 115 | 0F | 02:CB:EA:CB:EA:0F | 172.18.52.15 | erpxbpm015.classe.cornell.edu
IFABPM11 |  |  |  | 12 | 122 | 16 | 02:CB:EA:CB:EA:16 | 172.18.52.22 | erpxbpm022.classe.cornell.edu
IFABPM12 |  |  |  | 13 | 124 | 18 | 02:CB:EA:CB:EA:18 | 172.18.52.24 | erpxbpm024.classe.cornell.edu
IFABPM13 | FA.GD04 |  |  | 14 | 260 | A0 | 02:CB:EA:CB:EA:A0 | 172.18.52.160 | erpxbpm160.classe.cornell.edu | (was serial number 00, now 260 (mac .A0) )
IFABPM14 |  |  |  | 15 | 130 | 1E | 02:CB:EA:CB:EA:1E | 172.18.52.30 | erpxbpm030.classe.cornell.edu
IFABPM15 |  |  |  | 16 | 125 | 19 | 02:CB:EA:CB:EA:19 | 172.18.52.25 | erpxbpm025.classe.cornell.edu
IFABPM16 |  |  |  | 17 | 120 | 14 | 02:CB:EA:CB:EA:14 | 172.18.52.20 | erpxbpm020.classe.cornell.edu
ITABPM01 | TA.GD01 | L0E.TA.GD02.R01 | CBETA-BPM-VME-02 | 2 | 141 | 29 | 02:CB:EA:CB:EA:29 | 172.18.52.41 | erpxbpm041.classe.cornell.edu
ITABPM02 |  |  |  | 3 | 121 | 15 | 02:CB:EA:CB:EA:15 | 172.18.52.21 | erpxbpm021.classe.cornell.edu
ITABPM03 |  |  |  | 4 | 144 | 2C | 02:CB:EA:CB:EA:2C | 172.18.52.44 | erpxbpm044.classe.cornell.edu
ITABPM04 |  |  |  | 5 | 145 | 2D | 02:CB:EA:CB:EA:2D | 172.18.52.45 | erpxbpm045.classe.cornell.edu
ITABPM05 | TA.GD02 |  |  | 6 | 147 | 2F | 02:CB:EA:CB:EA:2F | 172.18.52.47 | erpxbpm047.classe.cornell.edu
ITABPM06 |  |  |  | 7 | 162 | 3E | 02:CB:EA:CB:EA:3E | 172.18.52.62 | erpxbpm062.classe.cornell.edu
ITABPM07 |  |  |  | 8 | 102 | 02 | 02:CB:EA:CB:EA:02 | 172.18.52.2 | erpxbpm002.classe.cornell.edu
ITABPM08 |  |  |  | 9 | 110 | 0A | 02:CB:EA:CB:EA:0A | 172.18.52.10 | erpxbpm010.classe.cornell.edu
ITABPM09 | TA.GD03 |  |  | 10 | 149 | 31 | 02:CB:EA:CB:EA:31 | 172.18.52.49 | erpxbpm049.classe.cornell.edu
ITABPM10 |  |  |  | 11 | 151 | 33 | 02:CB:EA:CB:EA:33 | 172.18.52.51 | erpxbpm051.classe.cornell.edu
ITABPM11 |  |  |  | 12 | 155 | 37 | 02:CB:EA:CB:EA:37 | 172.18.52.55 | erpxbpm055.classe.cornell.edu
ITABPM12 |  |  |  | 13 | 156 | 38 | 02:CB:EA:CB:EA:38 | 172.18.52.56 | erpxbpm056.classe.cornell.edu
ITABPM13 | TA.GD04 |  |  | 14 | 169 | 45 | 02:CB:EA:CB:EA:45 | 172.18.52.69 | erpxbpm069.classe.cornell.edu
ITABPM14 |  |  |  | 15 | 167 | 43 | 02:CB:EA:CB:EA:43 | 172.18.52.67 | erpxbpm067.classe.cornell.edu
ITABPM15 |  |  |  | 16 | 160 | 3C | 02:CB:EA:CB:EA:3C | 172.18.52.60 | erpxbpm060.classe.cornell.edu
ITABPM16 |  |  |  | 17 | 208 | 6C | 02:CB:EA:CB:EA:6C | 172.18.52.108 | erpxbpm108.classe.cornell.edu
ITABPM17 | TA.GD05 | L0E.ZA.GD01.R01 | CBETA-BPM-VME-03 | 2 | 173 | 49 | 02:CB:EA:CB:EA:49 | 172.18.52.73 | erpxbpm073.classe.cornell.edu
ITABPM18 |  |  |  | 3 | 129 | 1D | 02:CB:EA:CB:EA:1D | 172.18.52.29 | erpxbpm029.classe.cornell.edu
ITABPM19 |  |  |  | 4 | 117 | 11 | 02:CB:EA:CB:EA:11 | 172.18.52.17 | erpxbpm017.classe.cornell.edu
ITABPM20 |  |  |  | 5 | 138 | 26 | 02:CB:EA:CB:EA:26 | 172.18.52.38 | erpxbpm038.classe.cornell.edu
ITABPM21 | TA.GD06 |  |  | 6 | 134 | 22 | 02:CB:EA:CB:EA:22 | 172.18.52.34 | erpxbpm034.classe.cornell.edu
ITABPM22 |  |  |  | 7 | 193 | 5D | 02:CB:EA:CB:EA:5D | 172.18.52.93 | erpxbpm093.classe.cornell.edu
ITABPM23 |  |  |  | 8 | 188 | 58 | 02:CB:EA:CB:EA:58 | 172.18.52.88 | erpxbpm088.classe.cornell.edu
ITABPM24 |  |  |  | 9 | 171 | 47 | 02:CB:EA:CB:EA:47 | 172.18.52.71 | erpxbpm071.classe.cornell.edu
IZXBPM01 | ZA-GD01 |  |  | 10 | 170 | 46 | 02:CB:EA:CB:EA:46 | 172.18.52.70 | erpxbpm070.classe.cornell.edu
IZXBPM02 |  |  |  | 11 | 174 | 4A | 02:CB:EA:CB:EA:4A | 172.18.52.74 | erpxbpm074.classe.cornell.edu
IZXBPM03 |  |  |  | 12 | 178 | 4E | 02:CB:EA:CB:EA:4E | 172.18.52.78 | erpxbpm078.classe.cornell.edu
IZXBPM04 |  |  |  | 13 | 136 | 24 | 02:CB:EA:CB:EA:24 | 172.18.52.36 | erpxbpm036.classe.cornell.edu
IZXBPM05 | ZA-GD02 |  |  | 14 | 187 | 57 | 02:CB:EA:CB:EA:57 | 172.18.52.87 | erpxbpm087.classe.cornell.edu
IZXBPM06 |  |  |  | 15 | 210 | 6E | 02:CB:EA:CB:EA:6E | 172.18.52.110 | erpxbpm110.classe.cornell.edu
IZXBPM07 |  |  |  | 16 | 179 | 4F | 02:CB:EA:CB:EA:4F | 172.18.52.79 | erpxbpm079.classe.cornell.edu
IZXBPM08 |  |  |  | 17 | 186 | 56 | 02:CB:EA:CB:EA:56 | 172.18.52.86 | erpxbpm086.classe.cornell.edu
IZXBPM09 | ZA-GD03 | L0E.ZB.GD01.R01 | CBETA-BPM-VME-04 | 2 | 194 | 5E | 02:CB:EA:CB:EA:5E | 172.18.52.94 | erpxbpm094.classe.cornell.edu
IZXBPM10 |  |  |  | 3 | 195 | 5F | 02:CB:EA:CB:EA:5F | 172.18.52.95 | erpxbpm095.classe.cornell.edu
IZXBPM11 |  |  |  | 4 | 197 | 61 | 02:CB:EA:CB:EA:61 | 172.18.52.97 | erpxbpm097.classe.cornell.edu
IZXBPM12 |  |  |  | 5 | 198 | 62 | 02:CB:EA:CB:EA:62 | 172.18.52.98 | erpxbpm098.classe.cornell.edu
IZXBPM13 | ZM-GD |  |  | 6 | 199 | 63 | 02:CB:EA:CB:EA:63 | 172.18.52.99 | erpxbpm099.classe.cornell.edu
IZXBPM14 |  |  |  | 7 | 200 | 64 | 02:CB:EA:CB:EA:64 | 172.18.52.100 | erpxbpm100.classe.cornell.edu
IZXBPM15 |  |  |  | 8 | 213 | 71 | 02:CB:EA:CB:EA:71 | 172.18.52.113 | erpxbpm113.classe.cornell.edu
IZXBPM16 | ZB-GD01 |  |  | 9 | 203 | 67 | 02:CB:EA:CB:EA:67 | 172.18.52.103 | erpxbpm103.classe.cornell.edu
IZXBPM17 |  |  |  | 10 | 206 | 6A | 02:CB:EA:CB:EA:6A | 172.18.52.106 | erpxbpm106.classe.cornell.edu
IZXBPM18 |  |  |  | 11 | 205 | 69 | 02:CB:EA:CB:EA:69 | 172.18.52.105 | erpxbpm105.classe.cornell.edu
IZXBPM19 |  |  |  | 12 | 207 | 6B | 02:CB:EA:CB:EA:6B | 172.18.52.107 | erpxbpm107.classe.cornell.edu
IZXBPM20 | ZB-GD02 | L0E.ZB.GD02.R02 | CBETA-BPM-VME-05 | 2 | 214 | 72 | 02:CB:EA:CB:EA:72 | 172.18.52.114 | erpxbpm114.classe.cornell.edu
IZXBPM21 |  |  |  | 3 | 215 | 73 | 02:CB:EA:CB:EA:73 | 172.18.52.115 | erpxbpm115.classe.cornell.edu
IZXBPM22 |  |  |  | 4 | 217 | 75 | 02:CB:EA:CB:EA:75 | 172.18.52.117 | erpxbpm117.classe.cornell.edu
IZXBPM23 |  |  |  | 5 | 218 | 76 | 02:CB:EA:CB:EA:76 | 172.18.52.118 | erpxbpm118.classe.cornell.edu
IZXBPM24 | ZB-GD03 |  |  | 6 | 219 | 77 | 02:CB:EA:CB:EA:77 | 172.18.52.119 | erpxbpm119.classe.cornell.edu
IZXBPM25 |  |  |  | 7 | 221 | 79 | 02:CB:EA:CB:EA:79 | 172.18.52.121 | erpxbpm121.classe.cornell.edu
IZXBPM26 |  |  |  | 8 | 223 | 7B | 02:CB:EA:CB:EA:7B | 172.18.52.123 | erpxbpm123.classe.cornell.edu
IZXBPM27 |  |  |  | 9 | 196 | 60 | 02:CB:EA:CB:EA:60 | 172.18.52.96 | erpxbpm096.classe.cornell.edu
ITBBPM01 | TB-GD01 |  |  | 10 | 224 | 7C | 02:CB:EA:CB:EA:7C | 172.18.52.124 | erpxbpm124.classe.cornell.edu
ITBBPM02 |  |  |  | 11 | 225 | 7D | 02:CB:EA:CB:EA:7D | 172.18.52.125 | erpxbpm125.classe.cornell.edu
ITBBPM03 |  |  |  | 12 | 226 | 7E | 02:CB:EA:CB:EA:7E | 172.18.52.126 | erpxbpm126.classe.cornell.edu
ITBBPM04 |  |  |  | 13 | 227 | 7F | 02:CB:EA:CB:EA:7F | 172.18.52.127 | erpxbpm127.classe.cornell.edu
ITBBPM05 | TB-GD02 |  |  | 14 | 172 | 48 | 02:CB:EA:CB:EA:48 | 172.18.52.72 | erpxbpm072.classe.cornell.edu
ITBBPM06 |  |  |  | 15 | 220 | 78 | 02:CB:EA:CB:EA:78 | 172.18.52.120 | erpxbpm120.classe.cornell.edu
ITBBPM07 |  |  |  | 16 | 163 | 3F | 02:CB:EA:CB:EA:3F | 172.18.52.63 | erpxbpm063.classe.cornell.edu
ITBBPM08 |  |  |  | 17 | 166 | 42 | 02:CB:EA:CB:EA:42 | 172.18.52.66 | erpxbpm066.classe.cornell.edu
ITBBPM09 | TB-GD03 | L0E.TB.GD05.R02 | CBETA-BPM-VME-06 | 2 | 127 | 1B | 02:CB:EA:CB:EA:1B | 172.18.52.27 | erpxbpm027.classe.cornell.edu
ITBBPM10 |  |  |  | 3 | 164 | 40 | 02:CB:EA:CB:EA:40 | 172.18.52.64 | erpxbpm064.classe.cornell.edu
ITBBPM11 |  |  |  | 4 | 241 | 8D | 02:CB:EA:CB:EA:8D | 172.18.52.141 | erpxbpm141.classe.cornell.edu
ITBBPM12 |  |  |  | 5 | 119 | 13 | 02:CB:EA:CB:EA:13 | 172.18.52.19 | erpxbpm019.classe.cornell.edu
ITBBPM13 | TB-GD04 |  |  | 6 | 243 | 8F | 02:CB:EA:CB:EA:8F | 172.18.52.143 | erpxbpm143.classe.cornell.edu
ITBBPM14 |  |  |  | 7 | 202 | 66 | 02:CB:EA:CB:EA:66 | 172.18.52.102 | erpxbpm102.classe.cornell.edu
ITBBPM15 |  |  |  | 8 | 251 | 97 | 02:CB:EA:CB:EA:97 | 172.18.52.151 | erpxbpm151.classe.cornell.edu
ITBBPM16 |  |  |  | 9 | 175 | 4B | 02:CB:EA:CB:EA:4B | 172.18.52.75 | erpxbpm075.classe.cornell.edu
ITBBPM17 | TB-GD05 |  |  | 10 | 244 | 90 | 02:CB:EA:CB:EA:90 | 172.18.52.144 | erpxbpm144.classe.cornell.edu
ITBBPM18 |  |  |  | 11 | 139 | 27 | 02:CB:EA:CB:EA:27 | 172.18.52.39 | erpxbpm039.classe.cornell.edu
ITBBPM19 |  |  |  | 12 | 116 | 10 | 02:CB:EA:CB:EA:10 | 172.18.52.16 | erpxbpm016.classe.cornell.edu
ITBBPM20 |  |  |  | 13 | 101 | 01 | 02:CB:EA:CB:EA:01 | 172.18.52.1 | erpxbpm001.classe.cornell.edu
ITBBPM21 | TB-GD06 |  |  | 14 | 131 | 1F | 02:CB:EA:CB:EA:1F | 172.18.52.31 | erpxbpm031.classe.cornell.edu
ITBBPM22 |  |  |  | 15 | 209 | 6D | 02:CB:EA:CB:EA:6D | 172.18.52.109 | erpxbpm109.classe.cornell.edu
ITBBPM23 |  |  |  | 16 | 142 | 2A | 02:CB:EA:CB:EA:2A | 172.18.52.42 | erpxbpm042.classe.cornell.edu
ITBBPM24 |  |  |  | 17 | 154 | 36 | 02:CB:EA:CB:EA:36 | 172.18.52.54 | erpxbpm054.classe.cornell.edu
IFBBPM01 | FB-GD01 | L0E.FB.GD04.R01 | CBETA-BPM-VME-07 | 2 | 235 | 87 | 02:CB:EA:CB:EA:87 | 172.18.52.135 | erpxbpm135.classe.cornell.edu
IFBBPM02 |  |  |  | 3 | 230 | 82 | 02:CB:EA:CB:EA:82 | 172.18.52.130 | erpxbpm130.classe.cornell.edu
IFBBPM03 |  |  |  | 4 | 231 | 83 | 02:CB:EA:CB:EA:83 | 172.18.52.131 | erpxbpm131.classe.cornell.edu
IFBBPM04 |  |  |  | 5 | 232 | 84 | 02:CB:EA:CB:EA:84 | 172.18.52.132 | erpxbpm132.classe.cornell.edu
IFBBPM05 | FB-GD02 |  |  | 6 | 259 | 9F | 02:CB:EA:CB:EA:9F | 172.18.52.159 | erpxbpm159.classe.cornell.edu
IFBBPM06 |  |  |  | 7 | 159 | 3B | 02:CB:EA:CB:EA:3B | 172.18.52.59 | erpxbpm059.classe.cornell.edu
IFBBPM07 |  |  |  | 8 | 185 | 55 | 02:CB:EA:CB:EA:55 | 172.18.52.85 | erpxbpm085.classe.cornell.edu
IFBBPM08 |  |  |  | 9 | 103 | 03 | 02:CB:EA:CB:EA:03 | 172.18.52.3 | erpxbpm003.classe.cornell.edu
IFBBPM09 | FB-GD03 |  |  | 10 | 236 | 88 | 02:CB:EA:CB:EA:88 | 172.18.52.136 | erpxbpm136.classe.cornell.edu
IFBBPM10 |  |  |  | 11 | 238 | 8A | 02:CB:EA:CB:EA:8A | 172.18.52.138 | erpxbpm138.classe.cornell.edu
IFBBPM11 |  |  |  | 12 | 239 | 8B | 02:CB:EA:CB:EA:8B | 172.18.52.139 | erpxbpm139.classe.cornell.edu
IFBBPM12 |  |  |  | 13 | 106 | 06 | 02:CB:EA:CB:EA:06 | 172.18.52.6 | erpxbpm006.classe.cornell.edu
IFBBPM13 | FB-GD04 |  |  | 14 | 234 | 86 | 02:CB:EA:CB:EA:86 | 172.18.52.134 | erpxbpm134.classe.cornell.edu
IFBBPM14 |  |  |  | 15 | 240 | 8C | 02:CB:EA:CB:EA:8C | 172.18.52.140 | erpxbpm140.classe.cornell.edu
IFBBPM15 |  |  |  | 16 | 152 | 34 | 02:CB:EA:CB:EA:34 | 172.18.52.52 | erpxbpm052.classe.cornell.edu
IFBBPM16 |  |  |  | 17 | 128 | 1C | 02:CB:EA:CB:EA:1C | 172.18.52.28 | erpxbpm028.classe.cornell.edu

## V301 Splitter dump LA BPMs BAMs
CBETA V301 BPM Module Network/Installation Details
Related drawing: xxx
BPM Name | Girder Name | Equipment Rack | VME Chassis | Slot | Serial Number (decimal) | MAC Address (02:CB:EA:CB:EA:xx) xx= | MAC Address (02:CB:EA:CB:EA:xx) | IP Address | IP Name (erpxbpmXXX.classe.cornell.edu)
IS1BPM01 | S1 |  | CBETA-BPM-VME-08 | 2 | 190 | 5A | 02:CB:EA:CB:EA:5A | 172.18.52.90 | erpxbpm090.classe.cornell.edu
IS1BPM02 |  |  |  | 3 | 123 | 17 | 02:CB:EA:CB:EA:17 | 172.18.52.23 | erpxbpm023.classe.cornell.edu
IS1BPM03 |  |  |  | 4 | 222 | 7A | 02:CB:EA:CB:EA:7A | 172.18.52.122 | erpxbpm122.classe.cornell.edu
IS1BPM04 |  |  |  | 5 | 146 | 2E | 02:CB:EA:CB:EA:2E | 172.18.52.46 | erpxbpm046.classe.cornell.edu
IS1BPM05 |  |  |  | 6 | 211 | 6F | 02:CB:EA:CB:EA:6F | 172.18.52.111 | erpxbpm111.classe.cornell.edu
IS2BPM01 |  |  |  | 7 | 247 | 93 | 02:CB:EA:CB:EA:93 | 172.18.52.147 | erpxbpm147.classe.cornell.edu
IS2BPM02 |  |  |  | 8 | 248 | 94 | 02:CB:EA:CB:EA:94 | 172.18.52.148 | erpxbpm148.classe.cornell.edu
IS2BPM03 |  |  |  | 9 | 237 | 89 | 02:CB:EA:CB:EA:89 | 172.18.52.137 | erpxbpm137.classe.cornell.edu
IS2BPM04 |  |  |  | 10 | 177 | 4D | 02:CB:EA:CB:EA:4D | 172.18.52.77 | erpxbpm077.classe.cornell.edu
IS2BPM05 |  |  |  | 11 | 140 | 28 | 02:CB:EA:CB:EA:28 | 172.18.52.40 | erpxbpm040.classe.cornell.edu
IS3BPM01 |  |  |  | 12 | 246 | 92 | 02:CB:EA:CB:EA:92 | 172.18.52.146 | erpxbpm146.classe.cornell.edu
IS3BPM02 |  |  |  | 13 | 228 | 80 | 02:CB:EA:CB:EA:80 | 172.18.52.128 | erpxbpm128.classe.cornell.edu
IS3BPM03 |  |  |  | 14 | 249 | 95 | 02:CB:EA:CB:EA:95 | 172.18.52.149 | erpxbpm149.classe.cornell.edu
IS4BPM01 |  |  |  | 15 | 161 | 3D | 02:CB:EA:CB:EA:3D | 172.18.52.61 | erpxbpm061.classe.cornell.edu
IS4BPM02 |  |  |  | 16 | 255 | 9B | 02:CB:EA:CB:EA:9B | 172.18.52.155 | erpxbpm155.classe.cornell.edu
IS4BPM03 |  |  |  | 17 | 245 | 91 | 02:CB:EA:CB:EA:91 | 172.18.52.145 | erpxbpm145.classe.cornell.edu
IR1BPM02 | R1 |  | CBETA-BPM-VME-09 | 2 | 132 | 20 | 02:CB:EA:CB:EA:20 | 172.18.52.32 | erpxbpm032.classe.cornell.edu
IR1BPM03 |  |  |  | 3 | 254 | 9A | 02:CB:EA:CB:EA:9A | 172.18.52.154 | erpxbpm154.classe.cornell.edu
IR1BPM04 |  |  |  | 4 | 180 | 50 | 02:CB:EA:CB:EA:50 | 172.18.52.80 | erpxbpm080.classe.cornell.edu
IR1BPM05 |  |  |  | 5 | 157 | 39 | 02:CB:EA:CB:EA:39 | 172.18.52.57 | erpxbpm057.classe.cornell.edu
IR1BPM06 |  |  |  | 6 | 183 | 53 | 02:CB:EA:CB:EA:53 | 172.18.52.83 | erpxbpm083.classe.cornell.edu
IR2BPM02 |  |  |  | 7 | 112 | 0C | 02:CB:EA:CB:EA:0C | 172.18.52.12 | erpxbpm012.classe.cornell.edu
IR2BPM03 |  |  |  | 8 | 250 | 96 | 02:CB:EA:CB:EA:96 | 172.18.52.150 | erpxbpm150.classe.cornell.edu
IR2BPM04 |  |  |  | 9 | 153 | 35 | 02:CB:EA:CB:EA:35 | 172.18.52.53 | erpxbpm053.classe.cornell.edu
IR2BPM05 |  |  |  | 10 | 181 | 51 | 02:CB:EA:CB:EA:51 | 172.18.52.81 | erpxbpm081.classe.cornell.edu
IR2BPM06 |  |  |  | 11 | 212 | 70 | 02:CB:EA:CB:EA:70 | 172.18.52.112 | erpxbpm112.classe.cornell.edu
IR3BPM02 |  |  |  | 12 | 216 | 74 | 02:CB:EA:CB:EA:74 | 172.18.52.116 | erpxbpm116.classe.cornell.edu
IR3BPM03 |  |  |  | 13 | 118 | 12 | 02:CB:EA:CB:EA:12 | 172.18.52.18 | erpxbpm018.classe.cornell.edu
IR3BPM04 |  |  |  | 14 | 258 | 9E | 02:CB:EA:CB:EA:9E | 172.18.52.158 | erpxbpm158.classe.cornell.edu
IR4BPM02 |  |  |  | 15 | 126 | 1A | 02:CB:EA:CB:EA:1A | 172.18.52.26 | erpxbpm026.classe.cornell.edu
IR4BPM03 |  |  |  | 16 | 133 | 21 | 02:CB:EA:CB:EA:21 | 172.18.52.33 | erpxbpm033.classe.cornell.edu
IR4BPM04 |  |  |  | 17 | 192 | 5C | 02:CB:EA:CB:EA:5C | 172.18.52.92 | erpxbpm092.classe.cornell.edu
to be installed:
IS1BPM06 | BAM 1300 |  | CBETA-BPM-VME-10 | 2 | 256 | 9C | 02:CB:EA:CB:EA:9C | 172.18.52.156 | erpxbpm156.classe.cornell.edu
IS1BPM16 | BAM 2600 IR1BPM01 |  |  | 3 | 201 | 65 | 02:CB:EA:CB:EA:65 | 172.18.52.101 | erpxbpm101.classe.cornell.edu
IS2BPM06 | BAM 1300 |  |  | 4 | 306 | CE | 02:CB:EA:CB:EA:CE | 172.18.52.206 | erpxbpm206.classe.cornell.edu | CE
IS2BPM16 | BAM 2600 IR2BPM01 |  |  | 5 | 307 | CF | 02:CB:EA:CB:EA:CF | 172.18.52.207 | erpxbpm207.classe.cornell.edu | CF
IS3BPM04 | BAM 1300 |  |  | 6 | 288 | BC | 02:CB:EA:CB:EA:BC | 172.18.52.188 | erpxbpm188.classe.cornell.edu | BC
IS3BPM14 | BAM 2600 IR3BPM01 |  |  | 7 | 289 | BD | 02:CB:EA:CB:EA:BD | 172.18.52.189 | erpxbpm189.classe.cornell.edu | BD
IS4BPM04 | BAM 1300 |  |  | 8 | 290 | BE | 02:CB:EA:CB:EA:BE | 172.18.52.190 | erpxbpm190.classe.cornell.edu | BE
IFABPM00 | First FFA BAM IFABPM01 |  |  | 9 | 165 | 41 | 02:CB:EA:CB:EA:41 | 172.18.52.65 | erpxbpm065.classe.cornell.edu
IX1BPM11 | Just after MLC BAM ID1BPC01 |  |  | 10 | 191 | 5B | 02:CB:EA:CB:EA:5B | 172.18.52.91 | erpxbpm091.classe.cornell.edu
|  |  |  | 11 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
ID2BPM01 | Dump BPMs |  |  | 12 | 261 | A1 | 02:CB:EA:CB:EA:A1 | 172.18.52.161 | erpxbpm161.classe.cornell.edu
ID2BPM02 |  |  |  | 13 | 262 | A2 | 02:CB:EA:CB:EA:A2 | 172.18.52.162 | erpxbpm162.classe.cornell.edu
ID2BPM03 |  |  |  | 14 | 263 | A3 | 02:CB:EA:CB:EA:A3 | 172.18.52.163 | erpxbpm163.classe.cornell.edu
ID2BPM04 |  |  |  | 15 | 264 | A4 | 02:CB:EA:CB:EA:A4 | 172.18.52.164 | erpxbpm164.classe.cornell.edu
ID2BPM05 |  |  |  | 16 | 265 | A5 | 02:CB:EA:CB:EA:A5 | 172.18.52.165 | erpxbpm165.classe.cornell.edu
ID2BPM06 |  |  |  | 17 | 266 | A6 | 02:CB:EA:CB:EA:A6 | 172.18.52.166 | erpxbpm166.classe.cornell.edu
|  |  |  | 18 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
Was
IR1BPM01 | BAM 1300 |  | CBETA-BPM-VME-11 | 2 | 267 | A7 | 02:CB:EA:CB:EA:A7 | 172.18.52.167 | erpxbpm167.classe.cornell.edu | A7 | 55 (.21) | erpxbpm01 | IX1BPM10
IR1BPM11 | BAM 2600 IR1BPM01 |  |  | 3 | 268 | A8 | 02:CB:EA:CB:EA:A8 | 172.18.52.168 | erpxbpm168.classe.cornell.edu | A8 | 1B (.22) | erpxbpm02 | IX1BPM11
IR2BPM01 | BAM 1300 |  |  | 4 | 278 | B2 | 02:CB:EA:CB:EA:B2 | 172.18.52.178 | erpxbpm178.classe.cornell.edu | A9 | Replaced w/ B2. A9 V- chan bad
IR2BPM11 | BAM 2600 IR2BPM01 |  |  | 5 | 270 | AA | 02:CB:EA:CB:EA:AA | 172.18.52.170 | erpxbpm170.classe.cornell.edu | AA
IR3BPM01 | BAM 1300 |  |  | 6 | 271 | AB | 02:CB:EA:CB:EA:AB | 172.18.52.171 | erpxbpm171.classe.cornell.edu | AB
IR3BPM11 | BAM 2600 IR3BPM01 |  |  | 7 | 273 | AD | 02:CB:EA:CB:EA:AD | 172.18.52.173 | erpxbpm173.classe.cornell.edu | AD
IR4BPM01 | BAM 1300 |  |  | 8 | 274 | AE | 02:CB:EA:CB:EA:AE | 172.18.52.174 | erpxbpm174.classe.cornell.edu | AE
IFBBPM17 | Last FFA BAM IFBBPM16 |  |  | 9 | 308 | D0 | 02:CB:EA:CB:EA:D0 | 172.18.52.208 | erpxbpm208.classe.cornell.edu | D0 | 1C (.23) | erpxbpm03
IX1BPM10 | Just before MLC BAM IB1BPC03 |  |  | 10 | 310 | D2 | 02:CB:EA:CB:EA:D2 | 172.18.52.210 | erpxbpm210.classe.cornell.edu | D2 | 24 (.24) | erpxbpm04
IX1BPM12 | IR1BPM98 |  |  | 11 | 276 | B0 | 02:CB:EA:CB:EA:B0 | 172.18.52.176 | erpxbpm176.classe.cornell.edu
IX1BPM13 | IR1BPM99 |  |  | 12 | 277 | B1 | 02:CB:EA:CB:EA:B1 | 172.18.52.177 | erpxbpm177.classe.cornell.edu
|  |  |  | 13 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
IA3BPC01 | Injector |  |  | 14 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
IA3BPC02 |  |  |  | 15 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
IA3BPC03 |  |  |  | 16 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
IB1BPC01 | Merger |  |  | 17 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
IB1BPC02 |  |  |  | 18 | 100 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu

## Injector
CBETA V301 BPM Module Network/Installation Details
Related drawing: xxx
BPM Name |  | Equipment Rack | VME Chassis | Slot | Serial Number (decimal) | MAC Address (02:CB:EA:CB:EA:xx) xx= | MAC Address (02:CB:EA:CB:EA:xx) | IP Address | IP Name (erpxbpmXXX.classe.cornell.edu)
IX1BPG01 | Bunch Pattern Generator |  | CBETA-BPM-VME-12 | 2 | 257 | 9D | 02:CB:EA:CB:EA:9D | 172.18.52.157 | erpxbpm157.classe.cornell.edu
IX1BPM01 | BPMs |  |  | 3 | 158 | 3A | 02:CB:EA:CB:EA:3A | 172.18.52.58 | erpxbpm058.classe.cornell.edu
IX1BPM02 |  |  |  | 4 | 148 | 30 | 02:CB:EA:CB:EA:30 | 172.18.52.48 | erpxbpm048.classe.cornell.edu
IX1BPM03 |  |  |  | 5 | 182 | 52 | 02:CB:EA:CB:EA:52 | 172.18.52.82 | erpxbpm082.classe.cornell.edu
IX1BPM04 |  |  |  | 6 | 189 | 59 | 02:CB:EA:CB:EA:59 | 172.18.52.89 | erpxbpm089.classe.cornell.edu
IX1BPM05 |  |  |  | 7 | 143 | 2B | 02:CB:EA:CB:EA:2B | 172.18.52.43 | erpxbpm043.classe.cornell.edu
IX1BPM06 |  |  |  | 8 | 242 | 8E | 02:CB:EA:CB:EA:8E | 172.18.52.142 | erpxbpm142.classe.cornell.edu
IX1BPM07 |  |  |  | 9 | 150 | 32 | 02:CB:EA:CB:EA:32 | 172.18.52.50 | erpxbpm050.classe.cornell.edu
IX1BPM08 |  |  |  | 10 | 280 | B4 | 02:CB:EA:CB:EA:B4 | 172.18.52.180 | erpxbpm180.classe.cornell.edu | Replaced w/ B4. 08 H+ chan bad
IX1BPM09 |  |  |  | 11 | 137 | 25 | 02:CB:EA:CB:EA:25 | 172.18.52.37 | erpxbpm037.classe.cornell.edu
|  |  |  | 12 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
|  |  |  | 13 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
|  |  |  | 14 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
|  |  |  | 15 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
|  |  |  | 16 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu
|  |  |  | 17 | 0 |  | 02:CB:EA:CB:EA:00 |  | erpxbpm000.classe.cornell.edu

## FAT V301 details
CBETA V301 BPM Module Network/Installation Details
Related drawing: xxx
Returned to BNL
BPM Name | Equipment Rack | VME Chassis | Slot | Serial Number | MAC Address | IP Address | IP Name | 9/06/2019
IS1BPM01 | A | BPM-VME-1 | 3 | 85 | 02:AA:BB:CC:DD:55 | 172.18.46.21 | erpxbpm01.classe.cornell.edu | x
IS1BPM02 | A | BPM-VME-1 | 4 | 36 | 02:AA:BB:CC:DD:25 | 172.18.46.25 | erpxbpm05.classe.cornell.edu | x
IS1BPM03 | A | BPM-VME-1 | 5 | 33 | 02:AA:BB:CC:DD:24 | 172.18.46.24 | erpxbpm04.classe.cornell.edu | x
IS1BPM04 | A | BPM-VME-1 | 6 | 37 | 02:AA:BB:CC:DD:26 | 172.18.46.26 | erpxbpm06.classe.cornell.edu
IS1BPM05 | A | BPM-VME-1 | 7 | 70 | 02:AA:BB:CC:DD:28 | 172.18.46.28 | erpxbpm08.classe.cornell.edu | x
IS1BPM06 | A | BPM-VME-1 | 9 | 62 | 02:AA:BB:CC:DD:3E | 172.18.46.27 | erpxbpm07.classe.cornell.edu | x
IFABPM01 | A | BPM-VME-1 | 10 | 27 | 02:AA:BB:CC:DD:1B | 172.18.46.22 | erpxbpm02.classe.cornell.edu | x
IFABPM02 | A | BPM-VME-1 | 11 | 28 | 02:AA:BB:CC:DD:1C | 172.18.46.23 | erpxbpm03.classe.cornell.edu | x
IFABPM03 | A | BPM-VME-1 | 12 | 81 | 02:AA:BB:CC:DD:51 | 172.18.46.31 | erpxbpm11.classe.cornell.edu | x
IFABPM04 | A | BPM-VME-1 | 13 | 83 | 02:AA:BB:CC:DD:53 | 172.18.46.32 | erpxbpm12.classe.cornell.edu | x
|  |  |  | 91 | 02:AA:BB:CC:DD:5B | 172.18.46.35 | erpxbpm15.classe.cornell.edu | x
|  |  |  | 92 | 02:AA:BB:CC:DD:5C | 172.18.46.36 | erpxbpm16.classe.cornell.edu | x
|  |  |  | 77 | 02:AA:BB:CC:DD:4D | 172.18.46.29 | erpxbpm09.classe.cornell.edu
|  |  |  | 80 | 02:AA:BB:CC:DD:50 | 172.18.46.30 | erpxbpm10.classe.cornell.edu
|  |  |  | 84 | 02:AA:BB:CC:DD:54 | 172.18.46.33 | erpxbpm13.classe.cornell.edu
|  |  |  | 89 | 02:AA:BB:CC:DD:59 | 172.18.46.34 | erpxbpm14.classe.cornell.edu
|  |  |  | 61 | 02:AA:BB:CC:DD:3D | 172.18.46.37 | erpxbpm17.classe.cornell.edu

## BPM button cables
CBETA BPM Button Cable List
Related drawing: xxx
Cable manufacturer, part number, description: aaa, xyz, coax
Button end connector manufacturer, part number, description: bbb, xxx, SMA
V301 end connector manufacturer, part number, description: bbb, xxx, SMA
|  |  | Button cable |  | V301 module connection | [7 empty] | Button connection
BPM name | Beam-line section | s-coord | Cable label | Cable length | Rack | Chassis | Slot | Connector name | Cable manufacturer | Cable part number | Button end connector | V301 end connector | Position
BPM-1 | S1 |  | aa |  | 1234 | BPM-VME-1 | 2 | +X |  |  | SMA | SMA | Left
|  |  | bb |  |  |  |  | +Y |  |  |  |  | Up
|  |  | cc |  |  |  |  | -Y |  |  |  |  | Down
|  |  | dd |  |  |  |  | -X |  |  |  |  | Right
BPM-2 |  |  | ee |  | 1234 | BPM-VME-1 | 3 | +X |  |  |  |  | Left
|  |  | ff |  |  |  |  | +Y |  |  |  |  | Up
|  |  | gg |  |  |  |  | -Y |  |  |  |  | Down
|  |  | hh |  |  |  |  | -X |  |  |  |  | Right
How should we distinguish between BPM and BAM?

## BPM V301 network cables
CBETA BPM Network Cable List
Related drawing: xxx
Cable manufacturer, part number, description: aaa, xyz, CAT6
Connector manufacturer, part number: bbb, xxx, RJ45 each end
BPM name | IP Address | Network cable |  | V301 module connection |  |  |  | Network switch connection
|  | Cable label | Cable length | Rack | Chassis | Slot | Connector name | Rack | Chassis | Channel
BPM-1 |  |  |  | 1234 | BPM-VME-1 | 2 | Port 0 Control | 1234 | Network-1 | 1
BPM-2 |  |  |  | 1234 | BPM-VME-1 | 3 | Port 0 Control | 1234 | Network-1 | 2

## Spares
V301 Spares
Serial Number (decimal) | MAC Address (02:CB:EA:CB:EA:xx) xx= | MAC Address (02:CB:EA:CB:EA:xx) | IP Address | IP Name (erpxbpmXXX.classe.cornell.edu)
276 | B0 | 02:CB:EA:CB:EA:B0 | 172.18.52.176 | erpxbpm176.classe.cornell.edu | Used in VME 11 for IX1BPM12
277 | B1 | 02:CB:EA:CB:EA:B1 | 172.18.52.177 | erpxbpm177.classe.cornell.edu | Used in VME 11 for IX1BPM13
278 | B2 | 02:CB:EA:CB:EA:B2 | 172.18.52.178 | erpxbpm178.classe.cornell.edu | Replaced IR2BPM01, A9 had bad V- channel
279 | B3 | 02:CB:EA:CB:EA:B3 | 172.18.52.179 | erpxbpm179.classe.cornell.edu
280 | B4 | 02:CB:EA:CB:EA:B4 | 172.18.52.180 | erpxbpm180.classe.cornell.edu | Replaced IRXBPM08. 08 had bad H+ chan
281 | B5 | 02:CB:EA:CB:EA:B5 | 172.18.52.181 | erpxbpm181.classe.cornell.edu
282 | B6 | 02:CB:EA:CB:EA:B6 | 172.18.52.182 | erpxbpm182.classe.cornell.edu
283 | B7 | 02:CB:EA:CB:EA:B7 | 172.18.52.183 | erpxbpm183.classe.cornell.edu
284 | B8 | 02:CB:EA:CB:EA:B8 | 172.18.52.184 | erpxbpm184.classe.cornell.edu
285 | B9 | 02:CB:EA:CB:EA:B9 | 172.18.52.185 | erpxbpm185.classe.cornell.edu
287 | BB | 02:CB:EA:CB:EA:BB | 172.18.52.187 | erpxbpm187.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu
100 |  | 02:CB:EA:CB:EA:00 | 172.18.52.0 | erpxbpm000.classe.cornell.edu