## Slide 1: Anticipated Performance of a CBeta based Laser Compton Backscattering Source
Extrapolating from the recent demonstration of an ERL-based laser Compton source by T. Akagi et al., Phy. Rev. Accelerators and Beams 19, 114701 (2016). Assuming the same laser source and photon pulse – electron bunch collider
Expected maximum X-ray energy: 412 keV with 0.4% bandwidth, 0.14 mrad divergence
Anticipated flux on sample of 2x1010 photons/ sec
Comparable to the flux of 3x1010 photons/ sec at 400 keV, same bandwidth, using at a 4th generation synchrotron radiation source: current Cornell wiggler at CHESS’s F2 line with the upgraded CESR storage ring (to be completed in the next few years) (thanks to Jun Young Peter Ko for this estimate)
However…… Carl Franck

## Slide 2: A Key Element to be Redesigned for a CBeta Compton Backscattering Intense High Energy X-Ray Source: The Photon/Electron Collider
The electron/photon collisions would occur within an optical cavity that intensifies the optical bunch intensity. The following base design is due to Akagi et al. (2016)

## Slide 3: An Advanced Laser and Collider for CBeta: Prospects for Significant Improvement Over Competing Sources and Possible Applications
Replace the laser: Akagi et al used 1064 nm, wavelength, 62microJ/pulse, 5.7 ps laser pulses at an 163 MHz repetition rate.
Jeffrey Moses of AEP explains that provided one could handle the increased power in a properly designed cavity for the photon-electron collider, laser power increases of up to 17x with commercially available lasers could be exploited.
This would result in a factor of 13 improvement in flux for a CBeta driven Compton backscattering source over the anticipated alternative synchrotron radiation source.
Applications of such a high-energy, high-flux X-ray beam include deep level atomic physics studies for which the high energy is especially valuable and materials sciences in which the ability to probe deeply into a thick sample is prized.

## Slide 4: A Much More Optimistic and Earlier Projection Due to Vaclav Kostroun and Bruce Dunham (Thanks to Val for providing their slides)
From their talk of on Hard X-rays from Laser-ERL collisions on August 1, 2014: slide 9 gives brightness scaling as electron energy^2
Slide 11 gives for 400 MeV electron machine at peak output energy brightness of
6 x 1019 photons / sec mm2, mrad2 0.1% bandwidth
Taking the most conservative possible guesstimated conversion to flux
use Akagi spot size of 30 um by 10 um and divergence of (0.14 mrad)2
At 0.4% bandwidth for CBeta’s 150 MeV electrons
We are taking V and B’s electron (except for energy) and laser source characteristics
This yields 2 x1014 photons / sec, that is 104 greater flux than the extrapolation of Akagi’s source to CBeta without an improved laser and enhancement cavity
Summary: Val and Bruce projected for us what could be argued loosely to be at least a 104 improvement over contemporary synchrotron sources (with insertion devices) without straining optical technology

## Slide 5: Take Aways
This was a very rough review based on the theoretical and experimental efforts of Val, Bruce and Akagi et al.
A serious design effort as Karl is leading is paramount
Speculation: in contrast to competing insertion device synchrotron radiation systems, the effort of Akagi while proving concept might have fallen way short of what could be done
Speculation: CBeta can indeed power a truly advanced and needed high energy X-ray source
How have other electron – photon colliders been performing against expectations, e.g. at J Lab and in Europe?
Thanks Georg, Ritchie, Karl and Val!