ILC Damping Rings Component/Subsystem Specification

Part I – Classification Information

| Component Description: | Electron Damping Ring Tunnel Access Shaft |  |  |  |
| --- | --- | --- | --- | --- |
| Component Location (beamline): | EDR | Lattice Version: |  | OCS6, 2006-06-20 |
| Document Number: | EDR-CONV-shft-001 |  | Date: | 2006-06-21 |
| Prepared by: | Andy Wolski |  | email: | a.wolski@dl.ac.uk |
| Technical/Global System: | CF&S |  |  |  |
| Technical/Global System Contact: | Tom Lackowski |  | email: | tomski@fnal.gov |
| DR Area System Contact: | Andy Wolski |  | email: | a.wolski@dl.ac.uk |

Part II – Main Parameters

| Parameter | Value | # Reference |
| --- | --- | --- |
| Number of access shafts per beamline | 4 |  |
| Locations of access shafts | At each wiggler straight, connecting to major alcoves | [1] |
| Diameter | 9.0 m | [2] |
| Depth | 125 m | [3] |
| Unit Cost per Shaft | Public version: no cost shown | [4] |

Part III – Other Parameters, Information, and Drawings

For layout drawing of 9.0 m diameter shaft, see EDR-CONV-shft-001b.pdf:

ILC Damping Rings Component Specification

| Document Number: | EDR-CONV-shft-001 | Date: | 2006-06-21 |
| --- | --- | --- | --- |

Part IV – References

[1]	OCS6, Lattice design 2006-06-20

https://wiki.lepp.cornell.edu/ilc/bin/view/Public/DampingRings/WebHome

[2]	Private communication (email), Jean-Luc Baldy, 2006-05-31

[3]	Private communication (email), Tom Lackowski, 2006-06-21.  CERN, US and Asian sites use approximately 125 m depth.  DESY site is 30 m to 50 m deep.

[4]	Private communication (email), Tom Lackowski, 2006-05-28.