Physics 310

Diffraction Spectroscope and the Balmer Series

Balmer Series Experiment

The observations and measurements you will make in this experiment were crucial in the development of modern physics.  A classical theory of the hydrogen atom with the electron orbiting around the proton, much like a planet around the sun, predicts the emission of light (electromagnetic radiation) over a continuous range of wavelengths.  This experiment shows that light is emitted only at certain discrete wavelengths.  Thus it says that the classical planetary model of the ydrogen atom is false.

Further, the experiment shows that the Balmer Series wavelengths are inversely proportional to \f(1,22)  -  \f(1,n2)  where n = 3, 4, 5...

Finally, the experiment measures the constant of proportionality.  Since the measured value agrees closely with that predicted by the definitely non-classical Bohr theory of the hydrogen atom, it verifies a prediction of that theory and lends support to the assumptions and other predictions which that theory makes.

Sketch of the Experiment

The equipment consists of a hydrogen lamp with its power supply, a spectrometer, and a transmission diffraction grating.  In the experiment, the light from the hydrogen lamp is focused into parallel rays (i.e. plane waves) by the spectrometer's collimator, which are perpendicularly incident upon the grating.  On the other side of the grating, a telescope is set to accept parallel rays coming from the grating and focus them to the observer's eye.  The grating produces an intensity pattern which has maxima at different angles from the detection of the incident beam, dependent on the wavelengths of the light in the incident beam.  The observer sees these maxima as bright colored lines and measures the angles from the normal to the plane of the grating (i.e. from the direction of the incident beam) at which he observes them.  Using diffraction grating theory, the wavelengths of these lines can be calculated and the Bohr theory tested.

Bohr Theory of the Hydrogen Atom

Now we present a simple theory which describes some of the features of the phenomena you are seeing.  Before Bohr proposed his theory of the hydrogen atom, certain facts were already established concerning the spectra of the radiation from hydrogen and the make-up of the hydrogen atom.  It was known that:

(1)	The electron had some of the properties of a wave with a wavelength given by 
λelectron = \f(h,p)  where h is Planck's constant and p is the momentum.

(2)	Light was emitted from excited hydrogen atoms in the form of small packets of energy called quanta or photons, and the relationship between the energy of the quanta and the wavelength of the emitted light was

E =  \f(hc,λ)  =  hν

where c is the velocity of light, ν is the frequyency, and λ is the wavelength.

(3)	Other experiments such as collision experiments argued for a planetary model of the atom with the proton at the center and the electron orbiting around it.  This however was not consistent with the classical theory which predicted that the orbiting electron, being an accelerated charged particle, would radiate all its energy away in a very short time and over a continuous range of wavelengths.

Bohr solved this inconsistency dilemma by simply postulating his way out if it with some brilliant guesses.  The reasoning was as follows.  On the basis of (2) let us postulate that the atom (proton and electron) can exist in only certain discrete energy states and that light is emitted only when the atom changes from one state to another.  Postulating this took care of the classical theory difficulties associated with (3) and the evidence of the discrete spectrum.  To determine these energy states, consider from (1) the electron as a wave that is propagating around a circular orbit.  We reason that there will be allowed orbits of radius rn (and hence allowed energies) only when the circumference of the orbit equals an integer number of wavelengths.  (Otherwise, destructive interference would occur.)  Hence, nλelectron = 2πrn, where n = 1, 2, .. Using (1),

(A)   				rn =   \f(nλelectron, 2π)    =      \f(nh,2πmv)

Now the force required to keep the electron in a circular orbit is provided by the Coulomb force,

(B) 				 \f(mv2,r)  =  \f(e2,4πεor2) .

The total energy of the atom is the sum of the kinetic and potential energies.  Therefore:

(C)  				Etotal = \F(1,2) mv2  -  \f(e2,4πεοr)

From equations (A) and (B), we can eliminate the velocity to get an expression for r, the radius of the orbit, in terms of constants and the quantum number n.  By using (B), the velocity can be eliminated from (C).  Finally, the expression for r can be plugged into this with the result

(D) 				En =  \F(-me4,32π2εo2 h\D\BA7()_2 n2)

This is the Bohr theory expression for the hydrogen atom energy levels.  The total energy is negative because energy must be given to the electron to move it from a bound state where it is orbiting the atom to the zero of energy, which is where the electron is at rest and infinitely far from the proton.  This energy is called the ionization energy.  As we have stated earlier, light is emitted only when there is a transition from a higher energy level (less negative) to a lower (more negative) one.  In such a transition, the wavelength of the emitted light is given by

(E) 				 \f(hc,λ)  =  E  =  En - En'

where n is the quantum number of the initial energy level, and n' is the quantum number of the final energy level.  After substituting Eq. (D), this becomes

(F)   				\f(hc,λ)  =  (\f(-me4,32π2εo2 h\d\ba7()_2) ) (\f(1,n2)  -  \f(1,n'2) )

Letting 				hcR  =  \f(me4,32π2εo2 h\d\ba7()_2)

equation (F) becomes

(G)  				\f(1,λ)  =  R \b(\f(1,(n')2) - \F(1,n2))     Balmer Formula when n' = 2

where hcR = 13.6 eV and hc = 12,400 eV- Å.  R = 1.09737312  x  107 m-1  is the Rydberg constant.  Since all of the above constants are well known, you can see that the Bohr theory predicts the wavelengths of the emitted light when the atom changes its quantum number from n to n'.  The Balmer series is the set of all spectral lines resulting from the atom changing its quantum number from n to n' = 2.  There are other series, such as the Lyman series with n' = 1, but these others do not produce light in the visible range.

Diffraction Grating Theory

The transmission diffraction grating is an opaque screen having N equally spaced slits a distance d apart.  Let us suppose that the plane wave hitting the grating (see Figure 1) is varying sinusoidally in space and time.  In Figure 1, we have indicated schematically at one instant of time the magnitude of the electric field of the wave produced by each slit.  Because plane waves (parallel rays) are hitting the grating, the slits, which act as light radiators, radiate all in phase.  Thus along a

line like #1 parallel to the grating we have the constraint that the electromagnetic waves from each radiator must all be in phase.

Now the telescope, because it is set so that plane waves are focused in the focal plane which is perpendicular to the axis at P, takes any disturbance along a straight line perpendicular to the axis like line #2, and focuses it together at the same time at P.

The disturbance at P is made up of the sum of the disturbances from each slit along a line like #2.  The intensity at P at any instant of time is proportional to the square of the net electric field at that instant P.

i.e.	Ip(t)  α  [E1(t) + ... + Ei(t) + ... + EN(t)]2

where Ei(t) is the electric field contributed by the i-th slit at the point P.  The time average of Ip(t) is what the observer sees through the telescope.

From this you can see that the maximum average intensity at P will result when the Ei along a line like #2 all add up, i.e. maxima occur when the Ei that are focused together are all in phase.  This gives us a restriction on the angle at which maxima can occur.  There must be an integer number of wavelengths between #1 and #2 along the ray line from each slit.  From Figure 1 this will occur provided

d sin θ = n λ				n = 0, 1, 2, ...

Here λ is the wavelength of the incident light.  The maxima for a fixed wavelength are labeled by the number n which applies.  All wavelengths have a maximum at θ = 0, called a 0th order maximum.  Further out on both sides of the 0-th order line, there are 1st order, 2nd order maxima, etc.  It is often possible to obtain better accuracy in measuring the wavelength by measuring several orders, and computing an average wavelength value.

Adjustment of the Spectrometer

To use these ideas, we must adjust the spectrometer to meet, as nearly as possible, the idealizations of the discussion of the previous section.

In order to make some of these adjustments, the telescope is provided with a Gauss eyepiece.  The eyepiece (mounted in the telescope) is shown in Figure 2.  L1 is the objective lens of the telescope, and L2 and L3 are the eyepiece lenses.  Between the lenses L2 and L3 is a clear glass plate G, set at 45˚ to the telescope axis.  Light from a source X may strike this reflector through a hole in the side of the eyepiece.  The light will be reflected down the tube (illuminating the crosshairs at 0) and will be reflected back by the reflector M (the surface of the grating).  The reflected light will be seen by looking into the eyepiece.  It is clear from the figure that the light will be reflected back on itself by M only if the surface of M is perpendicular to the axis of the telescope.

A second aid in the adjustment procedure is a double surface mirror which can be inserted in place of the grating.  This mirror gives a much stronger reflection than the grating and makes the use of the Gauss eyepiece much easier.

The following list gives the aims of the alignment procedure in an appropriate order.  See if you can devise a means for accomplishing each of these objectives.  CAUTION - you should not have to force any adjustment - the instrument may be damaged if you do.  Check with the instructor if you are at all uncertain.

A.	Adjust the eyepiece so that the crosshairs are in focus with your eye relaxed.

B.	Adjust the telescope focus (L1) so that parallel light is focused in the plane of the crosshairs.  One procedure involves focusing on a distant object.  A better way uses the Gauss eyepiece, and a plane mirror in the grating mount.  Look for the crosshair image reflected from the plane mirror.  If the image of the crosshair is in the plane of the crosshair, there will be no parallax between the crosshair and its image, i.e. the image of the crosshair should not appear to move relative to the crosshair when you move your head infront of the eyepiece.

C.	To assure that the telescope axis is perpendicular to the rotation axis of the spectrometer, adjust the crosshair image so that the horizontal crosshair and its image coincide.  This can be done either by tilting the axis of the telescope or with the

thumbscrew adjustments on the mirror mount.  Then rotate the mirror through 180˚.  If the horizontal crosshairs no longer coincide, remove half the discrepancy by tilting the telescope and half by tilting the mirror.  Repeat until 180˚ rotations leave horizontal crosshairs coincident.

D.	Adjust the collimator so that the light from the slit is properly collimated, i.e. parallel rays leaving the collimator.  To do this, look at the slit image, illuminated by the hydrogen source, in the telescope.  Adjust the collimator focus so there is no parallax between the slit image and the cross hair (like step B).

E.	Adjust the tilt of the collimator so that the slit image is centered in the telescope field of view.  This assures that the collimator axis is parallel to the telescope axis, and hence perpendicular to the spectrometer axis.

F.	Rotate the crosshairs and slit so that they are parallel to each other and, if possible, to the spectrometer axis.  (It is easy to get them parallel to each other, but not so obvious how to assure that they are parallel to the rotation axis.  The adjustment of the crosshair parallel to the spectrometer axis is somewhat irrelevant.  However, it can be done by inserting the mirror in the mount, looking at the crosshair image, and rocking the mirror slightly.  If the crosshair is parallel to the spectrometer axis, the crosshair and its image will move parallel to each other.)

G.	Replacing the mirror with the grating, you have to make sure that the plane of the grating is parallel to the instrument axis, and perpendicular to the collimator axis.  Align vertical crosshair on slit image.  Leave telescope fixed in this position.  Look for an image of the crosshair reflected from the grating.  This may be hard and will need plenty of illumination on the Gauss eyepiece.  If you find an image repeat step C with the grating.  The alignment should be pretty good because of step C.  Finally, set angle of grating so that the vertical crosshair and its image coincide.

H.	Illuminating the slit with a line source, adjust the grating so that the lines of the grating are parallel to the axis.  If diffracted lines move vertically in the telescope field as the telescope angle is changed, the grating lines are not parallel to the axis.  Rotate the grating about a horizontal axis until all lines are centered vertically in the telescope field.  This can be done with the thumbscrew adjustments.

Note that some of the adjustments may "interact", i.e. a later adjustment may slightly alter an earlier one - particularly G and H.  It is useful to try to check the set A → F before removing the mirror to see that all conditions are satisfied.

Measurements

A.	Calibration:  To determine the grating constant, d, measure the angular positions of one of the lines of the mercury spectrum (wavelengths given in the appendix).  The green line at 5460.74 Å is a good choice.  You should measure it on both sides of the central maximum, in both first and second order.  Comparison of its angular positions will give you a good idea of how successful you were in adjusting the spectrometer, and it will permit you to determine your error in d.

B.	Measurements with hydrogen:  Use a pure hydrogen lamp for this part (save the hydrogen-deuterium lamps, which are expensive, for the last part).  Position the lamp in front of the collimator slit for maximum brightness, and measure the angular positions of as many lines as you can.  Note again that you can improve the accuracy by measuring both first and second order spectral lines and by measuring on both sides of zero order.

Evaluation

Determine from your data,

(1)  The wavelengths of the four visible lines of the Balmer series

(2)  Whether the data are in accord with the prediction En ~ 1/n2;

(3) The value of the Rydberg constant

Some comments:

(1) You should determine the uncertainty for each of your four wavelengths.  Since for most wavelengths you have first and second order measurements on both sides, you can start by calculating the mean and standard deviation.  It may be wise to check - by error propagation - whether the discrepancies in wavelengths can be explained by typical uncertainties in angle determinations.

(2) Try to show this graphically.  Graphical techniques are most useful if the plotted variables are chosen so that the theoretically predicted graphs are straight lines. Make an appropriate choice of variables.  If your data agree with En ~ 1/n2, you are justified in using equation (G) to determine the Rydberg constant in step (3).

(3) Calculate a value of R from  each wavelength and average them (a weighted average may be in order). The error (i.e. uncertainty) in R has to be derived from the uncertainty in the wavelengths, and from the systematic error of the grating constant.  Before comparing with theory, remember to correct for the finite mass of the proton, see below.

Ratio of Electron to Proton Mass

In the simple theory presented above, the proton mass is assumed to be infinite, and the m which appears in the Rydberg constant is the electron mass.  In both classical and quantum mechanics, the finite mass M of the proton can easily be taken into account in the calculation.  The

problem of the electron and proton, each of finite mass, can be shown to be equivalent to the problem of a particle of mass μH = mM/ (m+M) moving in a fixed coulomb force field  Note that because m<<M, μ≈m.  A better value of the Rydberg constant to compare with your experiment is then obtained by replacing m in equation F by µ.  Is your experiment sensitive enough to distinguish between these two predictions?

This idea may be tested by comparing the spectra of hydrogen and deuterium, since the nucleus of deuterium is of mass 2M, and the correct reduced mass for the deuterium problem is then µD = 2mM/ (m + 2M) where M is still the proton mass, and the deuteron mass is taken as 2M.  The effect is best seen by observing the spectrum of a mixture of H and D; the difference in the Rydberg constant appears as a small, barely resolved splitting of the lines.  See if you can observe this splitting, and from a measurement of its magnitude determine a value of m/M.  Before you start, however, estimate the magnitude of the effect.

Note - in your calculations it is possible to do everything to six place accuracy and compare results.  Much easier is to use the sort of arguments familiar in error analysis.  E.g.

µH = \f(mM,M+m) = m \b(\f(1,1 + \f(m,M))) ≈ m \b(1 - \f(m,M) +...)

Since R α μ, the fractional correction in R is the same as the fractional correction to µ which is, to first order, just m/M.  Thus the corrected Rydberg constant will be (1/1837) less than the uncorrected Rydberg constant, or expressed differently, the correction reduces the value of the Rydberg constant by .05%, for the case of hydrogen.  What is the percent correction for deuterium?

For one of your lines, calculate the difference in wavelength for hydrogen and deuterium.  Then estimate how far apart you expect the angular positions of the two lines to appear in the spectrometer.  How does this expected splitting compare with the width of your hydrogen lines?  Do you expect to resolve them?  Try it.